Learning Objectives 5

Protecting Natural Water Quality

Goals and Laws

- State the goal for setting water quality standards. (Knowledge)

- Define pollution. (Knowledge)

- Differentiate between a technology-based requirement and a water quality-based requirement. (Knowledge)

- Describe the NPDES system -- what it does, its legal authority, who implements it in California, and how it is implemented. (Knowledge)

Biodegradation and Oxygen Demand

- Calculate theoretical oxygen demand from stoichiometry.  (Application)

- Explain the role of microbes in oxygen demand.  (Comprehension)

- Differentiate between the chemical substances that cause CBOD and NBOD.  (Knowledge)

- Given the unbalanced reactions, calculate ThOD and NBOD from stoichiometry.  (Application)

- Sketch or interpret a graph showing the effect of time and rate constant on BOD measurements.  (Comprehension)

- Based on the factors that affect biodegradation rate coefficients, qualitatively predict which coefficients will be greater or less than others.  (Application)

- Given two of the three, calculate the rate constant, BODt, or BODu.  (Application)

- Given a rate constant at one temperature, calculate its value at a different temperature.  (Application)

- Using the first order model, calculate BOD remaining in the water at any time, t, or at any point downstream in a river.    (Application)

- Describe how BODt is measured in the lab, including time and temperature.  (Knowledge)

- Calculate BODt from laboratory data.  (Application)

- Calculate oxygen mass requirements to reduce the BOD of a given volume or flow of water.  (Application)

Dissolved Oxygen Sag

- Sketch a graph of dissolved oxygen with respect to downstream location in a stream receiving either wastewater or clean water or both.  (Application)

- Predict DO curve shapes based on changes in the factors that make up the DO sag equation, including temperature.    (Application)

- Calculate DO at any selected location downstream using appropriate DO sag equations .  (Application)

- Calculate the critical point in a stream with regards to location and oxygen concentration.  (Application)

- Judge whether the DO regime in a river is healthy and/or legal.  (Evaluation)

- Select treatment or discharge strategies that will produce a DO regime that meets given parameters.  (Synthesis)

- Discuss the limitations of the DO sag equation with respect to modeling real streams. (Analysis)

Water Quality Management in Rivers and Lakes

- List three detrimental effects of excess suspended solids.  (Knowledge)

- List three reasons why ammonia nitrogen is detrimental to aquatic organisms in rivers and lakes.  (Knowledge)

- Explain why acid rain is a concern to aquatic ecosystems.  (Comprehension)

- Explain the role of calcareous soils and sediments in protecting lakes from acidification.  (Comprehension)

- Explain how waste heat is a problem in ecosystems.  (Comprehension)

- Compare and contrast rivers and lakes with respect to the following:  vertical mixing, depth of light penetration, dilution potential, detention time, and locations of environmental effects. (Analysis)

- Draw the season pattern of temperature profiles in a lake and relate them to vertical mixing and dissolved oxygen concentration.  (Comprehension)

# Providing Safe Drinking Water

Epidemiology and Risk

- List the four major types of pathogenic organisms.  (Knowledge)

- Differentiate between direct and indirect transmission of disease and identify the role of vectors.  (Knowledge)

- Name two vectors.  (Knowledge)

- Describe role of civil engineers in managing infectious disease transmission and cite examples of typical activities.  (Comprehension)

- Define risk.  (Knowledge)

- Diagram the basic procedure for risk management.  (Knowledge)

- Sketch dose-response curves for carcinogenic and noncarcinogenic chemicals.  (Knowledge)

- Calculate dose and CDI, given concentrations, frequency factors, and intake rates.  (Application)

- Calculate risks associated with water or air concentrations of carcinogens.  (Application)

- Given the NOAEL, the safety factor, and the exposure, calculate the reference dose and the Hazard Index.  (Application)

- State the range of “acceptable” risks used to establish water and air standards and the most important sociological factor influencing the choice of that range.  (Comprehension)

- Decide whether a given exposure is “acceptable”.  (Evaluation)

- Relate the class material on risk to the ASCE Code of Ethics.  (Comprehension)

Drinking Water Regulation

- Describe the roles of the federal and state governments in regulating drinking water quality.  (Knowledge)

- Differentiate between “water quality-based” standards and “technology-based” standards, explain why there are two different kinds of standards, list an example of each.  (Comprehension)

- Describe the rationale and limitations to using coliform as an indicator organism for biological safety.  (Comprehension)

Water Treatment Processes

- Diagram and label the parts of a drinking water treatment process for typical surface waters.  (Knowledge)

- Explain the relationship between overflow rate and critical settling velocity.  (Comprehension)

- Apply the mass balance and overflow rate concepts to numerical problems involving sedimentation tanks such as sizing and estimating sludge production.  (Application)

- Describe the purpose of coagulation/flocculation in the overall treatment process.  (Comprehension)

- Define suspension “stability” and three mechanisms by which coagulants destabilize suspensions.  (Knowledge)

- Describe the role of flocculation (slow mixing) in getting particles to coalesce.  (Comprehension)

- Apply the concepts of velocity gradient (G) and hydraulic detention time to calculations involving flocculation facilities such as tank size and power requirement.  (Application)

- Given a power equation for a particular type of mixer, calculate the design parameters (e.g., rpm, paddle size) to achieve a desired G value.  (Application)

- Explain how filters can remove particles smaller than the pores in the media.  (Comprehension)

- Diagram and label typical operating cycles for constant head and constant flow filters.  (Knowledge)

- Describe the purpose and operations of filter backwashing.  (Comprehension)

- Apply the mass balance and filtration rate concepts to numerical problems involving filters and filter backwashing (including nonsteady state analyses).  (Application)

- Recognize and define the terminology used in drinking water disinfection (free chlorine, combined chlorine, residual, HOCl, OCl-, chloramines, DBP, THM, Ct).  (Knowledge)

- Calculate the fraction of chlorine in the HOCl or OCL- forms based on pH.  (Application)

- Explain why ozone and UV radiation are being considered as alternatives to chlorine.  (Comprehension)

- Use first-order disinfection kinetics (Chick and Watson-Chick models) to solve numerical problems such as calculating time to achieve a desired population, or Ct value needed to achieve a certain level of kill.  (Application)

- Calculate the dry mass chemical requirements based on target doses or concentrations and flow.  (Application)

- Describe the major sources and the treatment required for drinking water plant sludge, and list the two most common methods of disposal.  (Knowledge)