CE 170: Environmental Engineering

Lab Procedures (S04)

Adsorption

Procedures

Methylene blue will be measured using a spectrophotometer.  A spectrophotometer can sense the absorbance of light at specified wavelengths.

Absorbance = log(I0/I)

where I0 and I are the intensities of the light entering and leaving the test sample, respectively.  Light absorbance at a wavelength of 655 nm has been found to work well for detecting methylene blue.  The absorbance can be related to the concentration of the light-absorbing substance through use of a linear calibration curve.  Fortunately, our spectrophotometers have built-in software that will calculate the calibration curves for us based on supplying a standard.

Your instructor will brief you on the operation of the spectrophotometer.

Measurement of Partitioning Coefficient

# Your instructor will assign your group an adsorbent and will instruct you on how much use.  Weigh out the specified amount and add it to a 80- or 100-mL beaker.  It's OK if you don't hit the specified amount exactly; just be sure to record the exact mass you use.

# Place 50 ml of methylene blue stock solution (10 mg/L) into the beaker.

# Stir the beaker for at least 15 minutes.

# Let the contents of the beaker settle for several minutes and then transfer the top approximately 25 mL of your volume (i.e., the supernatant) to a centrifuge tube.  (Fill the tube about halfway.)  Give the tube to your instructor for centrifugation.  (It’s all right if some of the solids get into the centrifuge tube, but try to minimize them.)

# After centrifugation, CAREFULLY remove your tube.  (You don’t want to stir up the contents.)  Use a pipet to remove several milliliters of the supernatant, and place them into the spectrophotometer sample cell (the square test tube).  Do this step very carefully.  Suspended solid material will interfere with your spectrophotometer reading.

# Put the test tube into the spectrophotometer and read the concentration.

# Repeat Steps 1-6 two or three more times, each with a different mass of adsorbent.  Try to get a range of masses, but be careful not to use too much.  If you have too much adsorbent, it will be hard to measure the Ce after mixing.

Data Analysis

# Calculate the mass of MB adsorbed per mass of adsorbent (x/m)

# x = mass of MB adsorbed

# = (mass of MB in beaker at start) - (mass of MB at end)

# = (Ci*VMB)start - (Ce*VMB)end

# m = mass of adsorbent (g)

# The Freundlich isotherm is x/m = KCe1/n.  Taking the natural log of both sides gives you: ln(x/m) = lnK + (1/n) ln(Ce).  From this you can estimate K and 1/n from a linear regression equation.  In the regression ln(Ce) is the x value and ln(x/m) is the y value.

# Before you leave lab, calculate the best-fit line through your data using the linear regression function of your calculator.  Report your values for K and 1/n to the class.  Record the values from the other groups on your data sheets.

At home, plot your data and confirm your classroom calculation of K, 1/n, and r2 for your adsorbent.  Turn in a printout from this spreadsheet.

Prepare a plot showing x/m vs. Ce for all the different adsorbents used in the lab.  For this graph, calculate x/m using the K and 1/n values supplied by the various lab groups.  Plot from Ce = 0 to 64 mg/L with values closely spaced near zero (e.g., 0.25, 0.5, 1, 2, 4 …).  Turn in a printout showing the calculated values and the graph.

### Don’t forget your handwritten sample calculations of all the major different calculation done for the lab.  This would include at least the determination of x adsorbed and x/m, and an example of x/m calculated from a Freundlich equation.  The purpose of doing this is to verify that your spreadsheet is programmed correctly.